|  | FIRE-LINK FIRE SYSTEM SHUTDOWN SERVICE AGENT FORM |
| --- | --- |

| SITE DETAILS |  |  |  |
| --- | --- | --- | --- |
| Contact Name |  | Area Affected |  |
| Address |  | Zone Affected |  |
| Suburb & City |  | Point Affected |  |
| Date | / / | Type of Device Isolated |  |
| Time |  |  |  |
| PFA Number |  | Water Off? Yes No N/A |  |

| Sprinkler 4541 | Sprinkler 4515 | Fire Alarm 4512 | Riser 4510 |
| --- | --- | --- | --- |

| IMPORTANT INSTRUCTIONS |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - NZ Standards 4541 & 4516 (Sprinkler Systems) require “OWNERS APPROVAL” and notification to NZ Fire Service, Insurance Council and building insurers prior to a fire sprinkler shutdown. - NZ Standard 4512 (Fire detection and alarm systems) requires “OWNERS APPROVAL”, and for owners to notify their insurers if the systems are isolated for more than 12 hours. |  |  |  |  |  |  |  |  |
| SHUTDOWN DETAILS |  |  |  |  |  |  |  |  |
| Shutdown Date | / / |  |  | Reinstatement Date |  |  | / / |  |
| Shutdown Time |  |  |  | Reinstatement Time |  |  |  |  |
| Continuous Shutdown |  |  |  | Reinstatement Daily |  |  |  |  |
| SELECT ALL THAT APPLY |  |  |  |  |  |  |  |  |
| Maintenance Work Isolation |  |  | Isolation Due to Damage |  |  | Isolation Due to Building Works |  |  |

Service Agent Company Name:                                                           Signature:

Owner/Representative: please sign your approval of this fire system shutdown and return this form via email (see bottom of form).

Name:                                                               Owner/Representative Signature:

Insurers Notified?   Yes   No   N/A

OWNER SAFETY PRECAUTIONS FOR FIRE SYSTEM SHUTDOWN

• Forbid smoking in the area affected by the fire system shutdown • Stop hazardous processes • Where sprinklers are installed ensure, they are operative • Ensure all smoke stop doors are closed • Ensure Alarm Company can re-establish evacuation sounders if required • Where other systems (lifts, air conditioning etc.) are affected by shutdown, manual controls need to be checked • Arrange to notify others who may use the building during the period of isolation • Ensure building occupiers know to dial 111 for FIRE • Detail FIRE WARDENS to patrol the affected area (one person per 1000m2) IN event of fire call 111. Fire Wardens should check extinguishers and hoses. • No HOT WORK by any parties whilst the fire system is shutdown • If your building has smoke detectors beware that any dust, heat & fumes from building works may activate your alarm • Arrange a procedure with the contractor to get system restored quickly in emergency • Ensure telephone operator and fire watch know how to call fire brigade to your premises • Notify section heads of the need for special care and of the purpose and responsibility of fire watch • Discuss with your insurer and contractor the provisions of a temporary water supply

Once form is complete, please email to fire-link@alarmnz.com

ALARM NETWORKS Monitoring Ph: 09 303 0303 | Service Ph: 09 303 3033

Any queries please contact: helpdesk@alarmnz.com